Annexure-A

WORK SPECIFICATION OF INTERIOR DECORATION OF THE BOARD ROOM ON 2 ND FLOOR OF HEAD OFFICE

TAMLUK-GHATAL CENTRAL CO-OPERATIVE BANK LTD. TAMLUK,PURBA MEDINIPUR

| SL. NO | WORK-TYPE | WORK- SPECIFICATION | ITEAM DETAILS & APPROVED BRANDS/ MANUFACTURERS | MODEL DESIGN |
| --- | --- | --- | --- | --- |
|  |  |  | (A)PROVIDING & FIXING OF FALSE |  |
| 1. | FALSE CEILING | POP/GYPSUM | CEILING WITH EXPOSED G.I. GRIDE |  |
|  |  | BASED ROYAL | SUSPENSION SYSTEM (E-GRID U- |  |
|  |  | AESTHETIC | 1520 OR EQUIVALENT LOAD |  |
|  |  | LOOKS FALSE | CARRYING CAPASITY WITH3600 |  |
|  |  | CEILING WITH | MM LONG,CROSS TEE |  |
|  |  | DESIGN | 1200MM/600MM LONG & WALL |  |
|  |  |  | ANGLE.THE WALL ANGLE SHALL |  |
|  |  |  | BE FIXED BY FASTENERS. |  |
|  |  |  | (B)ACCOUSTIC FALSE CEILING |  |
|  |  |  | MADE BY GYPSUM BOARD |  |
|  |  |  | (C) GROUP DESIGN ON SIDE DROP |  |
|  |  |  | BRAND- India Gypsum, Lafarge Gypsum |  |
| 2. | ELECTRIFICATI | TOTAL | (A)ELECTRIFICATION WITH |  |
|  | ON | CONCEALED | CONCEAL WIRING BY 0.5 SQ |  |
|  |  | WIRING WITH | MM,0.75 SQ MM, 1.5 SQ MM, 2.5 |  |
|  |  | LIGHTS & FANS | SQ.MM ,4.0 SQ MM WIRE |  |
|  |  |  | BRAND - FINOLEX / POLYCAB |  |
|  |  |  | (B) SWITCHES,BOARD,PLATE |  |
|  |  |  | BRAND- ANCHOR ROMA/HAVELLS CRABTREE |  |
|  |  |  | (C) MCB & DB BOX BRAND- L& T /LEGARD |  |
|  |  |  | (D) 20 WATT 4K LED PANEL LIGHTS (20 PCS) |  |
|  |  |  | BRAND- PHILIPS/PANASONIC/CROMPTON |  |
|  |  |  | (E) WALLFAN (12”) –5 Pcs |  |
|  |  |  | BRAND -CROMPTON /HAVELLS |  |
|  |  |  | (F)8WATT - COB SPOT LIGHTS (20 PCS PCS |  |
|  |  |  | BRAND - PHILIPS/PANASONIC/CROMPTON |  |
|  |  |  | (G)PROFILE LIGHTS |  |
|  |  |  | (F) MODERN BRACKET LIGHTS (15PCS) |  |
|  |  |  | BRAND - PHILIPS/PANASONIC/CROMPTON |  |
|  |  |  | (G) CHANGE OVER SWITCH BRAND- HPL / HAVELLS |  |
| 3 | GLASS | DOOR, WINDOW | SAINT GOBIN /MODIFLOAT |  |
|  | Aluminum Sections | WINDOW PANEL etc. | LYCO |  |

| 4 | PUTTY & COLOUR | CEILING | ASIAN PAINTS/ICI DULUX PUTTY & ROYAL OIL BASED PRIMER |  |
| --- | --- | --- | --- | --- |
|  |  |  | ASIAN PAINTS ROYAL SHYNE/ICI DULUX VELVET TOUCH COLOUR |  |
| 5 | PLYWOOD ,LAMINATES & HARDWARE FITTINGS | FULLCEILING LENGTH WALL PANELLING WITH BACK STRUCTURE BY 19 MM PLYWOOD ON TWO SIDES OF WALL | 19 MM THICK ISI CERTIFIED PLYWOOD |  |
|  |  |  | 4.0 MM GREEN/CENTURY VENEER PASTING OVER PLYWOOD |  |
|  |  |  | PREMIUM GRADE PU POLISH BRAND-ASIAN PAINTS PU EMPORIO |  |
|  |  | 12 MM PLYWOOD WALL PANELLING WITH 1.5 MM THICK STEEL STRUCTURE |  |  |
|  |  |  | 1.5 MM THICK STEEL STRUCTURE |  |
|  |  | 19 MM PLYWOOD MAKE TABLE | HARDWARE FITTINGS WITH FITTING & FIXING BRAND-GREEN PLY/CENTURY |  |
|  |  | VENEER PASTING |  |  |
|  |  | PU POLISH | BRAND-ASIAN PAINTS PU EMPORIO |  |
| 6 | LOUVERS | LOUVERS DIGITAL PLANKS | LOUVERS DIGITAL PLANKS USED BRAND-HUTCH |  |
| 7 | T-PROFILE | T-PROFILE ON WALL | GOLD T-PROFILE ON WALL BRAND-DELICA |  |
| 9 | Door Lock / Door Handles | DOOR | BRAND- HETTICH |  |
| 10 | DOOR CLOSURE |  | BRAND -Godrej / Archi |  |
| 11 | PVC MOULDING BIT | PVC MOULDING BIT WITH NAIL FREE JOINING | PVC MOULDING BIT WITH NAIL FREE JOINING |  |

| 12 | WOODEN FLOORING | WOODEN FLOORING | WOODEN 10.0 MM THICK PVC INTERLOCKING FLOORING . BRAND-MIKASA /ARMSTRONG |  |
| --- | --- | --- | --- | --- |
| 13 | ROMAN BLINDS |  | ROMAN BLINDS AS REQUIRED |  |
| 14 | LAN CONNECTION | LAN CONNECTION ON TABLE | LAN CONNECTION ON TABLE CAT 6 BRAND-DLINK |  |
| 15 | SOUND SYSTEM | JBL SOUND SYSTEM WITH SPEAKERS | WATT CEILING SPEAKERS ( 6 PCS) |  |
|  |  |  | JBL GM -601 LM GOOSE NECK MICROPHONE (30 PCS) |  |
|  |  |  | JBL AMPLIFIER (1 PCS) |  |