ANNEXURE-II

INTERIOR DECORATION & FURNISHG WORK, ELECTRICAL,SOUND SYSTEM OF THE MEETING HALL ON 2ND FLOOR OF TAMLUK-GHATAL CENTRAL CO –OPERATIVE BANK LTD, TAMLUK, PURBA MEDINIPUR

(AREA-1890 SQ.FT)

| SL. NO | WORK- TYPE | WORK- SPECIFICATION |  | ITEAM DETAILS & APPORVED BRAND / MANUFACTURERS | BIDDER COMMENTS |
| --- | --- | --- | --- | --- | --- |
| 1. | FALSE CEILING | POP/GYPSUM BASED ROYAL AESTHETIC LOOKS FALSE CEILING WITH DESIGN & ROYAL DOME |  | (A)PROVIDING & FIXING OF FALSE CEILING WITH EXPOSED G.I. GRIDE SUSPENSION SYSTEM (E-GRID U-1520 OR EQUIVALENT LOAD CARRYING CAPASITY WITH3600 MM LONG,CROSS TEE 1200MM/600MM LONG & WALL ANGLE.THE WALL ANGLE SHALL BE FIXED BY FASTENERS. |  |
|  |  |  |  | (B)ACCOUSTIC FALSE CEILING MADE BY 30”* 36” POP BOARD/GYPSUM |  |
|  |  |  |  | (C) MOUILDING BIT (4” THICK ) ON THE FACE OF SIDE TRAY |  |
|  |  |  |  | (D) AESTHETIC LOOKS DOME (4’ RADIUS) |  |
|  |  |  |  | BRAND- India Gypsum, Lafarge Gypsum |  |
| 2. | ELECTRIFIC ATION | TOTAL CONCEALED WIRING WITH LIGHTS & FAN |  | (A)ELECTRIFICATIONWITH CONCEAL WIRING BY 0.5 SQ MM,0.75 SQ MM, 1.5 SQ MM, 2.5 SQ.MM ,4.0 SQ MM FINOLEX WIRE BRAND - FINOLEX / POLYCAB |  |
|  |  |  |  | (B) SWITCHES,BOARD,PLATE |  |
|  |  |  |  | BRAND-ANCHORROMA/ HAVELLS /CRABTREE |  |
|  |  |  |  | (C) 20 WATT 4K LED PANEL LIGHTS (70 PCS) |  |
|  |  |  |  | BRAND- PHILIPS/PANASONIC/CROMPTON |  |
|  |  |  |  | (D)8WATT - COB SPOT LIGHTS (50 PCS ) |  |
|  |  |  |  | BRAND - PHILIPS/PANASONIC/CROMPTON |  |
|  |  |  |  | ROPE LIGHTS WITH ADAPTER |  |
|  |  |  |  | (E) VINTAGE BRACKET LIGHTS (15 PCS) BRAND - PHILIPS/PANASONIC/CROMPTON |  |
|  |  |  |  | (F) MCB & DB BOX BRAND- L& T /LEGARD |  |
|  |  |  |  | (G) WALL FAN (12”) –25 Pcs BRAND-CROMPTON/HAVELLS |  |
| 3 | PUTTY & COLOUR | WALL & CEILING |  | ASIAN PAINTS /ICI DULUX PUTTY & ROYAL OIL BASED PRIMER |  |
|  |  |  |  | ASIAN PAINTS ROYAL SHYNE/ICI DULUX VELVET TOUCH COLOUR |  |
| 4 | POP BIT/PILLAR /HEAD | ORNAMENTATION |  | POP MAKE MOULDING BIT (71 MM THICK) WITH FITTING & FIXING ON WALL |  |
|  |  |  |  | POP WALL PILLAR (ROUND) DIMENSION- H2438 MMX202MM WITH FITTING & FIXING |  |
|  |  |  |  | DECORATIVE HEAD OVER PILLAR (SIZE-H308MMX W495MMX210MM) WITH FITTING & FIXING |  |
|  |  |  |  | POP STRAIGHT PILLAR (SIZE- H2362 MMX W240MM) |  |
| 5 | PLYWOOD & VENEER | WALL PANELLING WITH BACK STRUCTURE & ROYAL DESIGN WITH VENEER PASTING |  | 19 MM THICK |  |
|  |  |  |  | 4.0 MM MAKE VENEER BRAND - GREENPLY /CENTURY PLYWOOD |  |
|  |  | MAIN PILLAR FULL HEIGHT PANELLING WITH ROYAL WORK & VENEER PASTING |  |  |  |
|  |  |  |  | 12 MM TOUGHEN GLASS DOORS |  |
|  |  | DIAS &PODIUM |  |  |  |
|  |  | ENTRY GATE & GLASS DOORS |  | BRAND-SAINT GOBIN /MODIFLOAT |  |
| 6 | WOODEN WORK | WOOD MAKE SKIRTING & BIT |  | SAGOON WOOD MAKE SKIRTING MOULDING BIT (6’’) |  |
|  |  |  |  | SAGOON WOOD MAKE MOULDING BIT (4”) OVER PLYWOOD PANELLING |  |
|  |  |  |  | SAGOON 1” BIT ON VENEER |  |
|  |  |  |  | BATALI DESIGN WORK |  |
| 7 | PU & DUCO POLISH | PREMIUM QUALITY PU MATT FINISH |  | PU SEMI-MATT FINISH PREMIUM QUALITY POLISH ON VENEER & DUCO POLISH ON PARIS BIT BRAND - ASIAN PAINTS PU EMPORIO ASIAN PAINTS DUCO POLISH WITH GLITTERING EFFECT. |  |
| 8 | WOODEN PVC FLOORING | WOODEN FLOORING |  | WOODEN 10 MM THICK PVC INTERLOCKING FLOORING BRAND-MIKASA /ARMSTRONG |  |
| 9 | CURTAIN |  | ROYAL LOOKS DOUBLE HEAVY PREMIUM CURTAIN |  |  |
| 10 | LAN CONNECTI ON | LAN CONNECTION ON TABLE | LAN CONNECTION ON TABLE CAT 6 BRAND -DLINK |  |  |
| 11 | PELMET |  | PLYWOOD & VENEER PASTING PELMET WITH WOODEN BATALI WORK DESIGN & POLISH |  |  |
| 12 | SOUND SYSTEM | AHUJA SOUND SYSTEM WITH SPEAKERS | 30 WATT CEILING SPEAKERS (12 PCS) |  |  |
|  |  |  | FRONT BOX 12 ‘’ (2 PCS) |  |  |
|  |  |  | AKG MINI 2 DUAL WIRELESS MICROPHONE (2PAIR) |  |  |
|  |  |  | AHUJA GM -601 LM GOOSE NECK MICROPHONE (5 PCS) |  |  |
|  |  |  | AHUJA AMPLIFIER (2 PCS) |  |  |
| 13 | WALLPAPE R | PREMIUM BELGIUM WALLPAPER | ROYAL LOOKS PREMIUM QUALITY BELGIUM MADE WALLPAPER AS REQUIRED |  |  |
| 14 | WINDOW CHANNEL | COATED ALUMINIUM SLIDING WINDOWS WITH ONE VISION 5MM GLASS | COATED ALUMINIUM SLIDING WINDOWS (12 PCS) WITH GLASS (ONE VISION) BRAND- LYCO |  |  |

Signature of Bidder with seal