## Sheet1
Annexure -A
Specifications of Air conditioners for supply, installation & comissioning at Meeting Hall of Tamluk Ghatal Central Co-operative Bank Ltd.
Sl .No. | Description of item | Make/Model/Remarks
1 | Supply of Cassettee Type 4.0 tr Air conditioner non inverter 3phase including design, testing and commissioning with indoor & outdoor units with insulation cables etc . Make -Carrier (R-32) | Carrier -(R-32)
2 | Hi Grooved Copper Pipe
3 | Rapping Tape beyond 10ft (if necessary)
4 | GI spacers , screws, rowel plugs | 100%
Copper Condenser
| HD Filter , Inbuilt Air purifier | Ceiling
| Mounted type | 3phase
| phase | R-32
Refrigerant
5 | Warranty
1yr Comprehensive + Compressor 5yrs
6 | Annual Maintenance
Annual Maintenance of Indoor & Outdoor units of the Air conditioner for the first two year is free